Methanol/Chloroform Protein Precipitation

Modified from Wessel, D., Flugge, U.I., Anal. Biochem. 138, 141-144, 1984.

- Note: Method can be scaled up or down but works best at lower volumes (<300uL sample volume)

- To sample of 100uL starting volume add 400uL Methanol.

- Vortex briefly.

- Add 100uL Chloroform.

- Vortex briefly.

- Add 300uL ddH20.  Sample should look cloudy.

- Vortex briefly.

- Spin 2 min. @ 14,000 g

- Pipette off the top aqueous layer.  Protein exists between layers and may be visible as a thin wafer.  It may be difficult to see so be careful not to disrupt the interface during pipetting.

- Add 400uL of Methanol.

- Vortex briefly.

- Spin 3min. @14,000 g

- Pipette as much Methanol as possible from the tube without disturbing the pellet.

- Dry pellet by flipping tube upside down and resting in a fume hood for no more than 10min.  Be careful to not disturb the pellet and avoid drying too long as this makes the pellet much harder to re-solubilize.